## Slide 1
El Niño
SCAP Collections Meeting
November 12, 2015
Wet Weather Planning

## Slide 2
What is El Niño?
One phase of El Niño-Southern Oscillation (ENSO) cycle
Characterized by unusually warm ocean temperature in Equatorial Pacific
Frequency is irregular
Climate impacts vary
Previous Strong El Niño’s
2004-05
1997-98
1983-84
El Niño History
How does 2015 compare?
Strong El Niño

## Slide 3
El Niño History
Rainfall History
Notes:
Southern California rainfall is highly variable
El Niño conditions influence rainfall
2014: 5.09 inches
What could happen this winter?
1983: 18.49 inches (178% of average)
1998: 17.16 inches (173% of average)
2005: 22.60 inches (210% of average)
2015: ?
History suggests 150 - 200% of average rainfall
Source: San Diego County Water Authority

## Slide 4
Regional Board
Regional Board Outlook
Aware of El Niño
Expects collection systems to be prepared
Will not forgive SSO’s because of El Niño

## Slide 5
Inflow & Infiltration

## Slide 6
Inflow & Infiltration
Differentiating Inflow & Infiltration
Inflow contributes large volume in short time
Infiltration contributes large volume in longer time
Inflow main concern for SSO’s

## Slide 7
Inflow Prevention
What can be done?
Inventory & Maintain Low Flow Diversions
Install sealed manhole covers in areas of known flooding
Check all above ground creek crossings
  Clear debris from pipe
  Repair/Improve pipe supports
Smoke Testing

## Slide 8
Inflow Management
What can be done?
Clean sewer lines
Pump Station weatherproofing
Emergency response plans
Bypass pumping
Standby Power
Smart covers

## Slide 9
Questions & Comments