## Slide 1
Irvine Ranch Water District Michelson Water Recycling Plant Biosolids & Energy Recovery Project
So Cal Alliance of POTWs
Energy Management/Biosolids Committee
Steve Malloy, Principal Engineer
August 12, 2014

## Slide 2
IRWD Background
MWRP Biosolids & Energy Production Facilities
3-D Model Renderings
Construction Photos
Project Schedule
Presentation Overview

## Slide 3
IRWD Services
 | Drinking Water 4 Water Treatment Plants, 26 Wells 1500 miles of water pipeline
 | Sewage Collection 1000 miles of collection pipeline
 | Recycled Water 2 Recycled Water Plants 500 miles of recycled water pipeline
 | Urban Runoff Treatment San Joaquin Marsh prototype 31 wetland treatment sites

## Slide 4
IRWD Serves 20% of Orange County

## Slide 5
Biosolids & Energy Recovery Facilities Project

## Slide 6: Biosolids & Energy Recovery Project
Project Objectives:
Beneficially reuse Biosolids and Biogases produced during the treatment process.
Manage residuals (Biosolids) at reduced costs to IRWD’s customers.
Construct project to meet IRWD’s future Biosolids handling needs.
Minimize environmental impacts: Drying and pelletizing reduces export truck loads by a factor of four.
Reduces greenhouse gas effects by beneficially using pellets locally as a fertilizer or e-fuel.

## Slide 7
Project Description:
IRWD to construct facilities at MWRP for:
  Biosolids digestion, dewatering and drying
  Biogas management and energy recovery
  Odor control systems
IRWD would no longer export solids to Orange County Sanitation District (OCSD).
Project would also accept Biosolids trucked in from IRWD’s Los Alisos Water Recycling Plant (LAWRP).
Biosolids & Energy Recovery Project

## Slide 8: Biosolids Project Location

## Slide 9: Biosolids Facilities Site Location
MWRP
Biosolids and Energy
Recovery Facilities

## Slide 10
CENTRATE TREATMENT
Simplified Process Schematic

## Slide 11
Biosolids Facilities Site Plan

## Slide 12: Air Permit Process Diagram

## Slide 13
Cool Biosolids Stuff

## Slide 14
Operational benefits
  More efficient mixing
  Good foam control
  Easy grit removal
Structural
  Steel shell
  Insulated exterior
  Ring wall
Egg Shaped Digester Characteristics
Approx 67 Ft
Approx 35 Ft
Portion of
Digester
Below Grade
Approx 73 Ft

## Slide 15: Heat Drying System
Furnace
Mixer
ID Fan
Pellet
Cooler
To Storage Silos
Cake from dewatering
Cake Bin
Recycle
Bin
RTO
Venturi Scrubber
Condenser
Furnace
Triple Pass Drying Drum
Gas Recirculation
Pneumatic Transporter
Atmosphere
Preseparator
Baghouse

## Slide 16: Heat Drying System
Produces a pellet suitable for local beneficial reuse
  Nitrogen for fertilizer
  Btu content for e-fuel
Dryers in CA:
  Encina (Carlsbad)
  Sacramento
  Corona

## Slide 17: Alt. 3 – Microturbines
Biogas Priorities:
Use in the micro-turbines to get SCE incentives.
When dryer and micro-turbines are off, use in boilers to heat digesters, if needed.
Excess biogas (very little) diverted to enclosed gas burner.
Use natural gas in the dryer.

## Slide 18: Electrical Power Summary
MWRP Recycled Water Production (MGD) | Recycled Water Treatment Electrical Demand (MW) | Biosolids Handling Electrical Demand (MW) | Total MWRP Electrical Demand (MW) | Micro-Turbine Power Generated (MW) | Percent of Power Self-Generated
23 | 5.1 | 1.8 | 6.9 | 1.0 | 15%
28 | 6.1 | 2.4 | 8.5 | 1.5 | 18%
Continuous biogas production and power generation.
All power used on MWRP site.
Biogas Production (Digestion)
Power Generation (Microturbines)
Power Use (Aeration Blowers)

## Slide 19
3-D Model Renderings

## Slide 20: Digestion Facilities
Egg-Shaped Digesters
Sludge Holding Tanks
Acid Phase Digesters
Digester Control Bldg.
FOG Foodwaste Receiving

## Slide 21
Centrifuges & Cake Handling
Pellet & Cake Truck Loading
Heat Dryer
Cake Bins
Cake Receiving & Storage
Biosolids Handling Building Interior

## Slide 22: Biosolids Handling Building
Dryer and Odor Control Discharge Stacks
Polymer Storage
Solids Receiving
Pellet Loadout

## Slide 23
Centrate Treatment
Polymer Storage
Centrifuge Area
Dryer Area
Biosolids Handling Building

## Slide 24: Biogas Treatment & Microturbines
Biogas Storage
Biogas Conditioning
Microturbines

## Slide 25: Centrifuge Room
Thickening Centrifuges
Dewatering Centrifuges

## Slide 26: Dryer System – Lower Level
Dryer Drum
Pellet Screen

## Slide 27: Dryer System – Upper Level
Dryer Drum
Solids/Off Gas Separation
Pellet Mixer
Recycle Bin

## Slide 28: Sub-Surface View of 3,028 Piles

## Slide 29
Construction Photos

## Slide 30: Construction Photos
Installation of Piles in Solids Handling Facility

## Slide 31
Construction Photos
Pile Installation – Digester Area

## Slide 32: Construction Photos
Installation of Piles in Methane Digester Area

## Slide 33: Construction Photos
Aerial View of Western Half of Biosolids Site – Solids Handling Area
Centrate Treatment
Sludge Wet Wells
Digester Feed Pumps
Electrical Room
Dryer Area
Sludge Receiving Basement

## Slide 34: Construction Photos
Rebar Installation for Wall of Solids Handling Building Basement

## Slide 35
Aerial View of Methane Digesters and Sludge Holding Tanks
Methane Digester No. 1
Methane Digester No. 2
Methane Digester No. 3
Sludge Holding Tank No. 1
Sludge Holding Tank No. 2
Digester Sludge Pump Station
Digester Control Building Area
Acid Digesters Area
FOG Receiving Area
Construction Photos

## Slide 36: Construction Photos
Rebar Work for Methane Digester No. 3

## Slide 37: Construction Photos
Formwork and Rebar Work for Methane Digester No. 3 Wall

## Slide 38: Construction Photos
Finished Concrete Work of Methane Digester No. 2 Wall

## Slide 39: Construction Photos
Basements of Methane Digesters Nos. 1 and 2

## Slide 40: Construction Photos
Rebar and Concrete for Work of Sludge Holding Tank No. 2

## Slide 41
Project Schedule

## Slide 42
DATE | ACTIVITY
April 29, 2013 | Notice of Award
June 3, 2013 | Notice to Proceed
Sept. 2013 – March 2014 | Pile Driving
January 17, 2016 | Anaerobic Digestion Facilities Online
March 2, 2016 | Produce Class B Biosolids (Cake)
June 30, 2016 | Microturbine Power Generation Online
August 29, 2016 | Produce Class A Biosolids (Pellets)
October 28, 2016 | Project Completion
Project Schedule

## Slide 43: Contact Information: Steve Malloy, P.E. Irvine Ranch Water District malloy@irwd.com (949)-453-5695 (business hours)